Ph: (215)957-9200

FX: (215)957-9201

92 Park Avenue

Warminster, Pa 18974

To: 	{{RECIPIENT_NAME}}								{{PROPOSAL_DATE}}

{{RECIPIENT_COMPANY}}

Re:	{{PROJECT_NAME}}

{{CHANGE_DESCRIPTION}}

{{SALUTATION}}

The proposal for the IFC drawing set of changes is {{BID_TOTAL}}.

Our Exclusions/ Qualifications/ Clarifications are as follows:

- Provide power feeds and connection to new HP in cellar.

- Provide new duct detectors as shown in cellar.

- Provide power to added door security, canopy signage and delete R4 light on level 1

- Provide power to added canopy signage on mezzanine level.

- Add (2) P2 lights on level 2.

- Provide power to added door security, fountain, fire feature, and floor boxes on level 3

- Provide power feed and connection to added unit heater on level 4.

- Delete pop-up devices and add GFI on floors 9-33.  Labor is the same so credit is for cost of pop-up device.

- Add Lutron PICO wireless 3-way switches on floors 17-18 and 20-36.

- Delete WP GFI receptacles and add floor boxes on level 37

- Add receptacles and smart dimmer on level 38.

- Add GFI and microwave feeds on level 39.

- Add switch on level 40

- Add GFI receptacles and HP on level 41.

- Add duct detectors on level 42.

- Add S7A lights on delete S6 and P2A lights on level 43.

- Add feeds for HTR CTRL, UV Lts and new S7A lights on level 44.

- Add feeds to receptacles on level 45.

- The lobby area is still being excluded from our pricing.

- No cutting, patching or painting.

- No engineering/design build.

- No HVAC control work of any kind.

- Once Anmar has been directed to proceed with this work, this price has been approved as submitted and a supplement change order must be issued for the exact amount as listed above.

- A supplement change order must be issued within 60 days from the issuance of this price.

- Anmar reserves the right to stop all work if a supplement has not been issued in that timeframe.

- All work to be completed during normal working hours.

If there are any questions, please feel free to call.

Sincerely,

{{ESTIMATOR_NAME}}

{{ESTIMATOR_TITLE}}

Acceptance of Proposal----The above price, specifications and conditions are satisfactory

and is accepted.

| Signature: |  | Date: |  |
| --- | --- | --- | --- |
|  | Authorized Signature |  |  |

# POTENTIAL CHANGE ORDER

# {{BID_NUMBER}}